## Sheet1
Safety & Evacuation Procedures
For Staff/Fire Wardens/Visitors
If you discover a fire:
| 1 | Raise the alarm immediately by operating the nearest fire alarm
| 2 | Notify Fire Service by calling 111. This may be done by using telephone in Wharekai or any phone where
it is safe to do so. Clearly state - Location, Name, address, nearest cross street,
|  | Your Name | ……………………………………………………..
|  | Location | Puketeraki Marae, Karitane
|  | Address | 520 Apes Road off Coast Road off State Highway One
|  | Nature of Emergency | (Fire, Ambulance, Bells Ringing etc)
| 3 | Turn off or close down potentially dangerous processes or machinery. Leave lights on. Closing down
processes should only be carries out if possible to so safely and with no delay.
| 4 | If applicable collect register, which notes who is on site.
| 5 | Leave immediately by the NEAREST escape route. Move quickly but DO NOT RUN
| 6 | Move quickly to your designated assembly area - Marae Entrance Gate
| 7 | Do not return to the building until the all clear is given by the fire brigade
Fire Wardens Duties
All Fire Wardens at Puketeraki Marae must have completed Online Fire Wardens Training
If group staying overnight, Fire wardens must check each evening that fire exits are unlocked and
fire escapes are clear
ON HEARING ALARM, YOUR PRIME CONCERN IS SAVING LIFE
1 |  | Put on high viz vest and armband.
2 |  | Ensure your floor/area is evacuated. Check toilets (mens, womans).
3 |  | Enusre all doors on route of exit are closed.
4 |  | Note locations of persons, remaining in premises: including disabled persons, persons requiring
assistance to exit, fire control personnel etc
5 |  | Report to Head Warden and pass on information.
6 |  | Report to assembly area for personnel control
7 |  | Only if conditions permit and it is safe to do so, should any attempt be made to extinguish the fire.
Head Wardens Duties
1 |  | Ensure the Fire Service has been notified by ringing 111
2 |  | Collect Register which notes who is on site/staying on the marae
3 |  | Report to front entry (alarm panel)
4 |  | Await reports from Wardens
5 |  | Report to Fire Service on arrival
6 |  | Ensure Group is aware of designated assembly area being gate at entrance to marae